## DLC - TOC Overview
Consolidated Edison Functional and Technical Requirements - Table of Compliance (TOC)
Direct Load Control (DLC)
Vendor Name:
| Project: | Direct Load Control (DLC)
Release Date:
Due Date:
Instructions for Completing this Table of Compliance (TOC) Template:
The purpose of this template is for the Vendor to indicate the ability to meet the listed requirements. The Vendor shall respond to each requiremnt listed on the following tab and place an "X" in only one column for the six available options listed in Columns C through H. The table below explains each response option.
| Current Base | Functionally exists in the off-the-shelf product with minimal configuration; this response is synonymous with "yes" or "comply".
| Planned Base | Functionally is planned in product roadmap and will be available by December 31st, 2025, with minimal configuration in the off-the-shelf product.
| Configuration | Product functionality can be modified to comply by December 31st, 2025 without coding changes.
| Customization | Product functionality can be modified to comply by December 31st, 2025 with coding changes.
| Exception | Functionality does not exist and is not planned to exist; this response is synonymous with "no" or "will not comply".
| Vendor Comments | Please use this section to include commentary on listed SOW items that require commentary.
| Reference | Add any relevant references. When referencing material, please include document name, page, and/or section location, etc
| N/A | Vendor is choosing not to respond to this module/capability.
Use the corresponding cells in Column I to provide additional comments and explanation, as required. Please be concise if a comment or explanation is provided and try to limit to 1-2 sentences. Use Column J to list relevant reference materials that are included in the Vendor's proposal. When referencing material, please include document name, page, and/or section location, ect. Failure to comply with any of these instructions may result in the vendor receiving an RFP evaluation score of zero (0).

## Scope of Work - General DLC
Requirements | Category | Scope of Work | Current Base | Planned Base | Configuration | Customization | Exception | Vendor Comments | Reference | N/A
Technology & Integration
Required | Software | Support all program technology and commodity types listed in this RFP (electric/gas thermostats, residential battery energy storage systems).
Required | Software | Enable efficient enrollment and unenrollment processes.
Required | Software | Integrate with additional technologies and OEMs.
Required | Software | Call events 24 hours a day, 7 days a week.
Required | Business | Offer customer support to Con Edison Demand Response Team and customers 24 hours a day 7 days a week.
Required | Software | Interact with web-based API calls. Preference for familiarity with OpenADR protocols.
Required | Software & Business | Implement appropriate technical, physical, and administrative safeguards to prevent the unauthorized acquisition/access, loss, or misuse of Con Edison Confidential Information. Where a breach of security has led to the accidental or unlawful destruction, loss, alteration, unauthorized disclosure of, or access to, Con Edison’s Confidential Information, the Respondent will notify the Company without undue delay within 48 hours after discovery of the incident, will provide necessary information as available, and will work to remediate the issues that caused such breach.
Event Calling
Required | Software | Dispatch procedure must take fifteen (15) minutes or less.
Required | Software | Give customers the ability to respond within fifteen (15) minutes of initiation.
Required | Software | Allow customers a clear and efficient way to opt out of dispatches.
Required | Software | Dispatch assets by customizable groupings.
Required | Software | Dispatch assets by CSRP Call Window. Please see Rider T, and theNetwork and Call Windows document listed in Appendix F.
Required | Software | Dispatch assets by geographical network as specified by the Company. As of the release of this RFP, Con Edison’s service territory contains 83 electrical networks. The Company may dispatch a subset of these networks depending on the type of event. See the network and call windows documented listed in Appendix F for network maps.
Collaboration & Reporting
Required | Business | Meet weekly with Con Edison team members to monitor workstream progress and collaborate on DLC strategy.
Required | Business | Leverage relationships with OEMs to develop and support marketing campaigns and strategies to stimulate program growth.
Required | Business | Compile a list of newly enrolled customers to be sent to the Company bi-monthly to ensure settlements are distributed in a timely manner.
Required | Software & Business | Submit a comprehensive annual report that aligns with Con Edison regulatory filings at the end of each operational season.
Incentive Distribution
Required | Software & Business | Develop bi-monthly settlement reports to provide third-party contractor for incentive distribution to customers.
Preferred | Software & Business | Distribute incentive payments directly to participating customers on behalf of Con Edison.
Preferred | Business | Flexibility to distribute payments directly to OEMs on customer’s behalf.
Preferred | Software & Business | Flexibility for distribution of payments using various payment methods, such as direct deposit, check, and smartphone apps.
Note on K15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Do we want to also split up the scope of work here into General/BYOT/BYOB/GasDR?

## Scope of Work - Electric BYOT
Requirements | Category | Scope of Work | Current Base | Planned Base | Configuration | Customization | Exception | Vendor Comments | Reference | N/A
Required | Business | Support migration of existing DLC customers into the respondent’s DRMS.
Required | Software | Demonstrate the ability to manage up to 38k existing devices and DRMS scalability to account for additional program growth.
Required | Software | Support current thermostat OEMs (Amazon/Emerson, Honeywell, and Nest).
Required | Software | Track and provide an annual report of customers that have participated in an average of 50% or more event hours for the last three years.
Required | Business | Per the Con Edison Electric Tariff, these customers are eligible for an additional incentive.
Required | Software | Provide flexible curtailment strategies including, but not limited to, adjustable thermostat cycling, setback settings, and pre-cooling.
Required | Software & Business | Analyze device performance data to calculate energy savings and record how many hours each customer participated during the event.
Required | Software & Business | Develop formal report including how many customers were called, how many opted out, and time frames of the opt-outs.
Required | Software | Calculate performance with snap-back and pre-cooling.
Preferred | Software | Integration with additional thermostat OEMs.
Preferred | Software | Address the ability to include different triggers in the respondent’s ability to call events.
Preferred | Software | Define the maximum number of events per season (if applicable). Pricing proposal must include cost impact if maximum number of events called per season is exceeded.

## Scope of Work - Gas BYOT
Requirements | Category | Scope of Work | Current Base | Planned Base | Configuration | Customization | Exception | Vendor Comments | Reference | N/A
Required | Business | Demonstrate scalability to account for additional program growth.
Required | Software | Support current thermostat OEMs (Amazon/Emerson, Honeywell, and Nest).
Required | Software | Must have the ability to integrate with additional Thermostat OEMs and previous customers of the Gas BYOT Pilot.
Required | Software | Provide flexible curtailment strategies including, but not limited to, adjustable thermostat cycling, setback settings, and pre-heating.
Required | Software | Analyze device performance data to calculate energy savings and record how many hours each customer participated during the event.
Required | Business | Develop formal report including how many customers were called, how many opted out, and time frames of the opt-outs.
Required | Software | Calculate performance with snap-back and pre-heating.
Preferred | Software | Address the ability to include different triggers in their ability to call events.
Preferred | Software | Address the maximum number of events per season (if applicable). Pricing proposal must include cost impact if maximum number of events called per season is exceeded.

## Scope of Work - BYOB
Requirements | Category | Scope of Work | Current Base | Planned Base | Configuration | Customization | Exception | Vendor Comments | Reference | N/A
Required | Business | Demonstrate scalability to account for additional program growth.
Required | Software & Business | Support at least one residential Battery Energy Storage System OEM that fulfills one of the following criteria: i. Currently installed in Con Edison territory (Including Westchester) ii. Listed on the Fire Department of New York (“FDNY”) list of energy storage systems with a Certificate of Approval iii. In the queue for approval with FDNY
Required | Software | Integrate with additional battery OEMs.
Required | Software | Analyze device performance data to calculate energy savings and record how many hours each customer participated during the event, including information on data access, types of opt-out settings, minimum state of charge requirements, and handling of non-functional devices.
Required | Software | Develop a formal report including how many customers were called, how many opted out, and time frames of the opt-outs.
Required | Software & Business | Demonstrate how battery discharge is measured by the Respondent, including demand reduction and performance metrics.
Preferred | Software | Comment on ability to calculate performance incentives.
Preferred | Software | Discuss flexibility for event calling parameters.
Preferred | Software | Address the maximum number of events per season (if applicable).
Preferred | Software | Comment on levels of device control including direct control and load shape management.
Note on K12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Do we want to also split up the scope of work here into General/BYOT/BYOB/GasDR?